File R12005

Project 4789149254

October 15, 2019

REPORT

on

Metal Roof Deck Panels as to

ROOF COVERING MATERIALS, IMPACT RESISTANCE and

ROOFING SYSTEMS

Under The

CERTIFICATION PROGRAM

BERRIDGE MFG CO

HOUSTON, TX

Copyright © 2019 UL LLC

UL LLC authorizes the above named company to reproduce this Report only for purposes as described in the Conclusion, provided it is reproduced in its entirety.

File R12005	Page 1	Issued:  2019-10-15

DESCRIPTION

PRODUCT COVERED:

The products covered by this Report are metal roof deck panels designated “DL1-18” and “DL1.5-17”.

The products in this Report are Certified as to external fire exposure and impact resistance.

USE:

The products are intended for use as building materials as permitted by authorities having jurisdiction.

File R12005	Page T1-1 of 1	Issued:  2019-10-15

TEST RECORD NO. 1

STUDY FOR CERTIFICATION PURPOSES:

For the results of previous evaluations and tests conducted on samples and test assemblies including the products covered by this Report, refer to the various independent reports, test records and letter reports under File R12005.

File R12005	Page T2-1 of 2	Issued:  2019-10-15

TEST RECORD NO. 2

GENERAL:

Results relate only to the items evaluated.

INVESTIGATION:

The scope of the investigation sponsored under Project 4789149254 was to establish Certification of a pair of new 24 gauge galvalume steel metal panels, designated “DL1-18” and “DL1.5-17”, for ANSI/UL 790 fire resistance and UL 2218A impact resistance.

These panels are to be Certified under the product categories Roofing Systems (TGFU) and Roof-covering Materials, Impact Resistance (TGAM).

STUDY FOR CERTIFICATION:

ANSI/UL 790 fire and UL 2218A impact testing was not considered necessary based on UL’s general fire and impact test experience and a review of UL’s Online Product iQTM Database of the Certifications published for Berridge Mfg Co under the product categories Roofing Systems (TGFU) and Roof-covering Materials, Impact Resistance (TGAM).

CERTIFICATION:

The following represents the judgment of UL based on the results of the examination and data analysis presented in this Test Record, as they relate to established principles and previously recorded data.

Under the Follow Up Service program of UL, the manufacturer is authorized to continue to apply UL's Certification Mark on such products that comply with the Follow Up Service Procedure and any other applicable requirements of UL. Only those products that properly bear UL’s Certification Mark are considered as Certified UL.

UL’s Online Directory for the Certifications published for Berridge Mfg Co under the product category Roofing Systems (TGFU) was revised (in italics) as follows:

OTHER SYSTEMS

Class A

Coated steel panels (surfacing) identified as "Deep Vee", "R", "Tee", "High Seam Tee", "Zee Lock", "Zee Lock Double Lock", "Cee-Lock", "Tee-Lock", "Bermuda Roof", "M", "S-Tile", "S", "Spanish Tile", "Deep-Deck", "Double-Rib", “DL1-18”, “DL1.5-17”, and "Tee-Lock Panel".

UL’s Online Directory for the Certifications published for Berridge Mfg Co under the product category Roof-covering Materials, Impact Resistance (TGAM) was revised (in italics) as follows:

File R12005	Page T2-2 of 2	Issued:  2019-10-15

Class 4 formed coated steel panels, Model(s) Bermuda Roof Panel (Report Date: 1994-07-21), Cee-Lock Panel (Report Date: 1991-06-01), Deep Vee Panels (Report Date: 1988-10-11), Deep-Deck (Report Date: 2003-11-04), Double-Rib (Report Date: 2003-11-06), High Seam Tee (Report Date: 1989-05-18), M (Report Date: 1999-04-20), R-Panel (Report Date: 1988-10-11), S Deck (Report Date: 2001-02-12), S-Tile Panel (Report Date: 2001-02-09), Spanish Tile (Report Date: 2001-02-13), Tee Panel (Report Date: 1989-05-18), Tee-Lock Panel (Report Date: 2016-01-22), Zee-Lock Double Lock Panel (Report Date: 1989-12-02), Zee-Lock Panel (Report Date: 1989-12-02), DL1-18 (Report Date: 0000-00-00), DL1.5-17 (Report Date: 0000-00-00)

CERTIFICATION MARKING:

US CERTIFICATION (TGFU):

The Certification Marking for the Roofing Systems (TGFU) category to be used on the products designated “DL1-18” and “DL1.5-17” is illustrated below:

BUILDING UNITS

FOR ROOFING SYSTEMS

AS TO EXTERNAL FIRE EXPOSURE

The Certification Marking for the Roof-covering Materials, Impact Resistance (TGAM) category to be used on the products designated “DL1-18” and “DL1.5-17” is illustrated below:

“Also Certified as to Impact Resistance: Class 4”

TEST RECORD NO. 2 SUMMARY:

The results of this investigation, including construction review, indicate that the products evaluated comply with the applicable requirements of the standards listed below, and, therefore, the products are judged eligible to bear UL’s Mark as described in the conclusion page of this report.

Any information and documentation provided to you involving UL Mark services are provided on behalf of UL LLC or any authorized licensee of UL.

| Standard | Title | Edition or Publication Date | Latest Revision Date |
| --- | --- | --- | --- |
| ANSI/UL 790 | Standard Test Methods or Fire Tests of Roof Coverings | 8th | 19 October 2018 |
| UL 2218A | Standard for Impact Resistance of Roofing Systems | Issue 1 | 24 September 2009 |

| TEST RECORD No. 2 by: | Reviewed by: |
| --- | --- |
| TIMOTHY PAWLICKI | ALPESH PATEL |
| Engineer | Staff Engineer |
| Building Materials & Systems | Building Materials & Systems |

File R12005	Page C1	Issued:  2019-10-15

CONCLUSION:

Samples of the product covered by this Report have been found to comply with the requirements covering the category, and the products are also found to comply with UL’s applicable requirements. The description and test results in this Report are only applicable to the samples investigated by UL and do not signify UL Certification or that the product described is covered under UL's Follow Up Service Program. When covered under UL's Follow Up Service Program, the manufacturer is authorized to use the UL Certification Mark on such products which comply with UL's Follow Up Service Procedure and any other applicable requirements of UL LLC. The Certification Mark of UL LLC on the product or the UL symbol on the product and the Certification Mark on the smallest unit container in which the product is packaged, is the only method to identify products investigated by UL to published requirements and manufactured under UL's Certification and Follow-Up Service.

This Report is intended solely for the use of UL LLC (UL) and the Applicant for establishment of UL Certification coverage of the product under UL’s Follow Up Service. UL retains all rights, title and interest (including exclusive ownership) of this Report and all copyright therein. The Applicant or its designated agent shall not disclose or otherwise distribute this Report or its contents to any third party, except as required for purposes of compliance with laws, regulations, or other existing agreements or schemes in which UL is currently a participant. Any other use of this Report including, without limitation, evaluation or certification by a party other than UL is prohibited and renders this Report null and void. UL shall not incur any obligation or liability for any loss, expense, or punitive damages, arising out of, or in connection with, the use or reliance upon the contents of this Report to anyone other than the Applicant as provided in the agreement between UL and Applicant. Any use or reference to UL's name or Certification mark(s) by anyone other than the Applicant in accordance with the agreement is prohibited without the express written approval of UL. Any information and documentation involving UL Mark services are provided on behalf of UL LLC (UL) or any authorized licensee of UL. UL shall not otherwise be responsible to anyone for the use of or reliance upon the contents of this Report.

| TEST RECORD No. 2 by: | Reviewed by: |
| --- | --- |
| TIMOTHY PAWLICKI | ALPESH PATEL |
| Engineer | Staff Engineer |
| Building Materials & Systems | Building Materials & Systems |